Learner handout 3 – Standard operating procedure (SOP) and risk assessments

SOPs and risk management

Task 2 – Effective SOPs should set out clearly:

- The findings of risk assessments

- Safe working practices, ie what can be done to ensure that work is done safely

- Who is authorised to perform specific tasks

- Procedures for disinfection and sterilisation

- Arrangements for disposal of clinical waste

- Requirements of The Control of Substances Hazardous to Health Regulations (2002) (COSHH), including chemicals and biological agents

- Procedures for the maintenance, examination and testing of engineering controls, eg exhaust ventilation systems and microbiological safety cabinets

- Arrangements for maintenance and inspection of other equipment

- Procedures for accident and incident reporting, showing clearly who should be contacted in the event of an accident

- Any amendments or changes to SOPs have been authorised and dated

- Evaluate these SOPs. [8]

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

b. Use the internet and your own knowledge to list information that should be included in both SOPs on the operation, cleaning and maintenance of autoclaves? [8]

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

b. Complete a risk assessment for SOP 1 using the risk assessment proforma. [6]

SOP 1 Preparing agar plates

| Risk matrix – Evaluation of risks |  |  |  |  |  |  | Action level |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Almost certain | 5 | 5 | 10 | 15 | 20 | 25 | 20–25 Stop |
| Highly likely | 4 | 4 | 8 | 12 | 16 | 20 |  |
| Likely | 3 | 3 | 6 | 9 | 12 | 15 | 12–16 Urgent |
| Unlikely | 2 | 2 | 4 | 6 | 8 | 10 | 8–10 Action |
| Extremely improbable | 1 | 1 | 2 | 3 | 4 | 5 | 4–6 Monitor |
|  | X | 1 | 2 | 3 | 4 | 5 | 1–3 No action |
|  |  | Minimal | Minor injury | 7 day + injury | Serious or major injury | Severe |  |
|  |  |  | Consequence |  |  |  |  |

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

| Hazard | Who might be harmed? | Likelihood | Severity | Total risk level | Control measures | Likelihood | Severity | Resulting risk level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.