Teacher answer sheet – Standard operating procedure (SOP) and risk assessments

Learner handout 1 – SOP and risk assessments

Risk and risk assessment

- What is a hazard? [1]

Hazard – anything that may cause harm.

- What is risk? [1]

Risk – the chance, high or low, of somebody being harmed by the hazard and how serious the harm could be.

- Why is it important to assess the risk when working in the health and science sector? [3]

Risk assessments are used to identify the risks of a certain activity and to find ways to reduce the risk or eliminate it entirely.

They are important because they protect people from harm and loss.

They also provide a written record that risks have been properly considered and safeguards have been put in place to protect people from harm.

- Who is responsible for managing the risks in a laboratory? [4]

Employers and senior managers have responsibility for setting policies and for ensuring that risks are assessed and eliminated or controlled.

Line managers, such as laboratory managers, may be responsible for implementing policies and procedures.

Employees who work in laboratories are responsible for following policies and procedures.

Others who can influence policies and good practice, such as laboratory safety managers, risk managers, health and safety officers, and employee safety representatives

- Give five strategies for promoting health and safety at the health and science sector. [5]

Encouraging individuals to take reasonable care for their own and other’s safety.

Following organisational policies and SOPs, including site-specific emergency procedures.

Completing statutory training.

Ensuring working environments are clean, tidy and hazard-free.

Modelling good practice (eg washing hands and wearing appropriate personal protective equipment (PPE)).

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

Learner handout 2 – SOP and risk assessments

SOPs and risk management

Task 1 – Watch the video of the technician carrying out this procedure and read the corresponding SOP.

1. Give one example from the SOP where control of substances hazardous to health (COSHH) guidance has been applied correctly. [1]

Use of PPE.

Displaying suitable and sufficient warning signs.

Putting in place appropriate decontamination and disinfection.

Putting in place the means for the safe collection storage and disposal of contaminated waste.

Setting out the procedures for working with biological agents or material that could contain them to limit risk of infection.

2. Give one example from the SOP where Hazardous Waste (England and Wales) Regulations 2005 has been applied. [1]

Dispose of the waste using a suitable bag labelled as hazardous and sealed securely.

Pack waste securely in line with carriage regulations (using a suitable bag, labelled as hazardous and sealed securely).

Store waste securely in the designated area.

Select appropriate treatment or waste disposal method.

3. Outline how a company ensures SOPs are effective. [5]

Staff training will need to be provided to ensure that SOPs are understood.

Staff training will need to be provided to ensure SOPs are used consistently.

The company must introduce an effective monitoring procedure to ensure SOPs are used consistently.

Staff training will need to be provided ensure that the monitoring procedure is used consistently.

Staff training will need to be provided to ensure that the outcomes of the monitoring procedure are actioned.

The company must introduce an effective monitoring procedure to ensure consistently.

Human resources staff may not be experts and therefore the SOP may not comply with requirements or be fit for purpose. They need to be written by experts.

As SOPs need to be constantly updated, review dates will need to be added and the SOPs rewritten by experts in that field at that review date.

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.

Learner handout 3 – SOP and risk assessments

SOPs and risk management

Task 2 – Effective SOPs should set out clearly:

- The findings of risk assessments

- Safe working practices, ie what can be done to ensure that work is done safely

- Who is authorised to perform specific tasks

- Procedures for disinfection and sterilisation

- Arrangements for disposal of clinical waste

- Requirements of COSHH, including chemicals and biological agents

- Procedures for the maintenance, examination and testing of engineering controls, eg exhaust ventilation systems and microbiological safety cabinets

- Arrangements for maintenance and inspection of other equipment

- Procedures for accident and incident reporting, showing clearly who should be contacted in the event of an accident

- Any amendments or changes to SOPs have been authorised and dated

a. Evaluate these SOPs. [8]

- Include links to other relevant documentation such as risk assessment and SOPs at end of document. However, the links are not always made to the documents at the correct point in the procedure.

- Links to SOPs which inform the operation, cleaning and maintenance of key equipment are included, but there are no links to SOPs in relation to operation, cleaning and maintenance of micropipettes.

- Clear guidance regarding disinfection and sterilisation protocols, ie chemicals, disinfectants, equipment, autoclave/LFC and procedures, and heat sterilising the loop.

- Appropriate waste management procedures in place.

- Version history included in document is dated, but no authorisation signature or details are included.

- Includes equipment lists and detailed step-by-step procedures.

- No reference to training logs or training required prior to performing SOPs.

- No descriptions of PPE use or links to documentation detailing PPE requirements.

- No links direct to COSHH guidelines, but these could be in risk assessments.

b. What information should be included in both SOPs on the operation, cleaning and maintenance of autoclaves? [8]

- Who can operate autoclave and what training do they require?

- The operation and safety parameters of autoclave, ie temperature (121°C) and time (15 mins), and including things like advised load and spacing.

- How to prepare equipment/waste for auto clave ie autoclavable biohazard bags and sterilisation indicator tape.

- If and what PPE is required.

- Safety checks prior to switch on, ie proper water level.

- Safety check prior to opening, ie chamber has 0 psi pressure and no hissing sound from the release valve.

- Cleaning information, ie when cool, lint-free cotton cloth, chemicals – mild detergent or suitable cleaning agent.

- Regular maintenance checks and actions – every 12 months calibrate temperature controller, add few drops of oil on the door hinge.

- How to run sterilisation checks and how often, ie use of spore strips.

- Outlet checks.

- Test-sequence protocols.

b. Write risk assessments for SOP 1 using the risk assessment proforma. [6]

SOP 1 Preparing agar plates. Exemplar below

| Hazard | Who might be harmed? (see “those at risk” above) | Likelihood | Severity | Total risk level | Control measures (add any other control measures you will use) | Likelihood | Severity | Resulting risk level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transferring molten agar | Technician | 2 | 6 | 8 | Heat-proof gloves to be worn when transferring molten agar | 1 | 1 | 2 |
| Hotplate | Technician | 3 | 3 | 6 | Hotplate light check, area of operation clear, technician 360-risk assessment where working | 2 | 3 | 5 |
| Liquids near electrical devices | Technician | 3 | 2 | 5 | Maintenance checks of electrical devices regularly, technician 360-risk assessment | 1 | 2 | 3 |
| Autoclave failure of the lid or door mechanism while under pressure | Operator, staff and general public | 3 | 5 | 8 | Regular maintenance and safety checks prior to use, SOP include checks on door mechanisms | 1 | 5 | 6 |
| Autoclave – overloading | Operator, staff and general public | 2 | 3 | 5 | Staff training and SOP on loading limits | 1 | 3 | 4 |
| Autoclave – corrosion and erosion | Operator, staff and general public | 2 | 5 | 7 | Staff training and SOP on cleaning and maintenance | 1 | 5 | 6 |
| Autoclave – shattering containers | Operator, staff and general public | 2 | 2 |  | Use of autoclave-safe conical flasks | 1 |  |  |

Learner assessment – SOP and risk assessments

Task – Effective SOPs should set out clearly:

- The findings of risk assessments

- Safe working practices, ie what can be done to ensure that work is done safely

- Who is authorised to perform specific tasks

- Procedures for disinfection and sterilisation

- Arrangements for disposal of clinical waste

- Requirements of COSHH, including chemicals and biological agents

- Procedures for the maintenance, examination and testing of engineering controls, eg exhaust ventilation systems and microbiological safety cabinets

- Arrangements for maintenance and inspection of other equipment

- Procedures for accident and incident reporting, showing clearly who should be contacted in the event of an accident

- Any amendments or changes to SOPs have been authorised and dated

a. Evaluate this SOP [8]

- Includes links to other relevant documentation such as risk assessment and SOPs at end of document, but the links are not always made to the documents at the correct point in the procedure.

- Links to SOPs which inform the operation, cleaning and maintenance of key equipment are, but there are no links to SOPs on operation, cleaning and maintenance of micropipettes.

- Clear guidance regarding disinfection and sterilisation protocols. Chemicals – disinfectants used to disinfect desk. Equipment – micropipette tips disposed in disinfectant, autoclave and procedures. Air conditioners, fans and fume cupboards must be turned off, windows and doors closed, and foot traffic restricted to reduce the chance of contamination to plates while subculturing.

- Appropriate waste management procedures in place, ie autoclaving waste and double bagged. See in video.

- Version history included in document is dated but no authorisation signature or details are included.

- Includes equipment lists and detailed step-by-step procedures.

- No reference to training logs or training required prior to performing SOPs.

- No descriptions of PPE use or links to documentation detailing PPE requirements for the PPE in the video, ie laboratory coat.

- No links direct to COSHH guidelines, but these could be in risk assessments.

- No reference in the SOP to procedures seen in the video, so SOP not fully detailed, eg selective media and use of colony counter.

- Links to government guidance.

b. Write risk assessments for SOP 1 using risk assessment proforma [6]

SOP 3 – Aerobic colony count

| Hazard | Who might be harmed? (see “those at risk” above) | Likelihood | Severity | Total risk level | Control measures (add any other control measures you will use) | Likelihood | Severity | Resulting risk level |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Flammable ignition | Technician and staff |  |  |  |  |  |  |  |
| Chemical spillage Highly flammable irritant | Technician | 3 | 3 | 6 | COSSH guidance 0.1 per cent peptone, 0.85 per cent sodium chloride solution no risk 70 per cent Ethanol Highly flammable and irritant. All liquid should be mopped up with blue roll and placed in a large waste bin to be incinerated In case of eye contact, the affected area should be washed in water for 15 minutes before consulting a doctor If swallowed, seek medical advice immediately If Ethanol comes into contact with hands, wash hands immediately with soap and plenty of water | 2 | 3 | 5 |
| Bunsen flame |  |  |  |  |  |  |  |  |
| Microorganism contamination | Technician, staff and general public |  |  |  |  |  |  |  |
| Liquids near electrical devices | Technician | 3 | 2 | 5 | Maintenance checks of electrical devices regularly, technician 360 risk assessment | 1 | 2 | 3 |
| Autoclave failure of the lid or door mechanism while under pressure | Operator, staff and general public | 3 | 5 | 8 | Regular maintenance and safety checks prior to use, SOP includes checks on door mechanisms | 1 | 5 | 6 |
| Autoclave – overloading | Operator, staff and general public | 2 | 3 | 5 | Staff training and SOP- loading limits | 1 | 3 | 4 |
| Autoclave – corrosion and erosion | Operator, staff and general public | 2 | 5 | 7 | Staff training and SOP on cleaning and maintenance | 1 | 5 | 6 |
| Autoclave – shattering containers | Operator, staff and general public | 2 | 2 |  | Use of autoclave-safe conical flasks | 1 |  |  |

St John Rigby College is delivering this programme on behalf of the Education and Training Foundation. This programme is funded by the Department for Education.